## Technology Database
S.No. | Technology Name | Category | Treatment Stage | Capacity Range (KLD) | Capital Cost (INR/KLD) | O&M Cost (INR/KLD/yr) | Energy Requirement | Land Requirement (sqm/KLD) | BOD Removal (%) | TSS Removal (%) | Pathogen Reduction (log) | Design Life (years) | Skill Level Required | Climate Resilience Rating | Best Suited Climate Zone | Flood Resilience | Heatwave Resilience | Drought Resilience | Cyclone Resilience | Reuse Potential | Key Advantages | Key Limitations | Indian Case Studies / Installations
1 | Settler / Sedimentation Tank | Primary Treatment | Pre-treatment | 1-500 | 3,000-8,000 | 200-500 | None (gravity) | 0.5-1.5 | 25-40 | 50-70 | 0.5-1.0 | 20-30 | Low | High | All zones | High | High | High | High | Settled sludge for composting | No energy needed; simple design; reliable in all weather; low maintenance | Low BOD removal alone; needs downstream treatment; requires periodic desludging | CDD India — 450+ DEWATS across India; Agra DEWATS (Kachhpura drain)
2 | Septic Tank (improved) | Primary Treatment | Pre-treatment | 1-200 | 5,000-12,000 | 300-600 | None (gravity) | 1.0-2.0 | 30-50 | 50-70 | 1.0 | 15-25 | Low | High | All zones | Medium — flood ingress risk if not sealed | High | High | High — if below ground | Sludge for co-composting | Widely understood technology; no energy; decentralised; proven track record | Effluent still high BOD; needs secondary treatment; GW contamination risk if not sealed | SBM Phase 1 — millions installed across rural India; CPCB guidelines available
3 | Biogas Digester (KVIC/Deenbandhu) | Primary Treatment | Pre-treatment + Energy | 1-100 | 8,000-20,000 | 400-800 | Produces biogas (0.3-0.5 m³/cap/day) | 1.5-3.0 | 40-60 | 50-70 | 1.0-1.5 | 15-20 | Medium | Medium | Tropical / Sub-tropical (>20°C avg) | Medium — submerged dome resists floods | High — heat accelerates methanogenesis | Low — needs water for slurry feed | Medium — dome vulnerable to wind if above ground | Biogas for cooking; digested slurry for farms | Energy recovery; reduces GHG vs open pits; nutrient-rich digestate; proven at scale | Performance drops below 15°C; needs consistent feedstock; water requirement for slurry; skilled mason for construction | MNRE biogas programme; SNV biogas projects; UNDP-GEF supported installations
4 | Anaerobic Baffled Reactor (ABR) | Secondary Treatment | Anaerobic | 5-500 | 6,000-15,000 | 300-700 | None (gravity) | 0.5-1.0 | 65-80 | 60-80 | 1.0-2.0 | 20-30 | Low-Medium | High | All zones | High — underground, sealed | High — heat improves efficiency | High — no water input needed | High — fully underground | Effluent for constructed wetland | No energy; underground = climate proof; modular; handles shock loads; low sludge production | Needs primary treatment upstream; lower removal than aerobic; startup time 2-3 months | CDD India DEWATS; BORDA projects in Karnataka, TN; CSE documentation
5 | Anaerobic Filter (AF) | Secondary Treatment | Anaerobic | 5-500 | 7,000-18,000 | 400-800 | None (gravity) | 0.3-0.8 | 70-85 | 70-85 | 1.5-2.0 | 15-25 | Low-Medium | High | All zones | High — underground | High | High — no water needed | High — underground | Polished effluent for reuse | Compact footprint; high removal efficiency; no energy; biofilm retention; reliable | Filter media may clog over time; desludging of media needed; higher cost than ABR | DEWATS modules across India; CDD India; SuSanA case studies
6 | UASB Reactor | Secondary Treatment | Anaerobic | 50-5000 | 10,000-25,000 | 500-1,200 | Minimal (pumping only) | 0.2-0.5 | 70-85 | 60-80 | 1.5-2.0 | 20-30 | Medium-High | Medium | Tropical / Sub-tropical | Medium — above ground units at risk | High — optimal >20°C | Medium — needs consistent inflow | Low — tall structures vulnerable to wind | Biogas recovery; treated effluent | High organic load handling; biogas recovery; compact; proven at municipal scale | Needs skilled operation; sensitive to shock loads; poor performance <15°C; sludge granulation takes time | Kanpur UASB; multiple NRCD installations; Yamuna Action Plan STPs
7 | Constructed Wetland (Horizontal Flow) | Secondary Treatment | Aerobic/Facultative | 1-200 | 4,000-12,000 | 200-500 | None (gravity) | 3.0-8.0 | 80-95 | 85-95 | 2.0-3.0 | 15-25 | Low | High | All zones (reed species varies) | Medium — berms needed for flood zones | High — plants thrive in heat | Low — plants need minimum moisture | Medium — above ground vegetation at risk | Treated water for irrigation/recharge | Nature-based; zero energy; excellent pathogen removal; habitat creation; easy O&M | Large land requirement; plant management needed; may clog if overloaded; seasonal performance variation | CDD India; CSE projects; Auroville (Pondicherry); multiple rural installations
8 | Constructed Wetland (Vertical Flow) | Secondary Treatment | Aerobic | 1-200 | 5,000-15,000 | 300-600 | None or minimal pumping | 2.0-5.0 | 85-95 | 85-95 | 2.5-3.5 | 15-25 | Low-Medium | High | All zones | Medium — raised bed helps in flood areas | High | Low — needs intermittent dosing water | Medium | Nitrified effluent for reuse | Better nitrification than HF; smaller footprint; higher treatment efficiency | Needs intermittent dosing mechanism; slightly more complex than HF; distribution pipes may clog | CDD India hybrid wetland systems; NIT Rourkela research installations
9 | Waste Stabilization Pond (WSP) | Secondary Treatment | Facultative | 10-1000 | 3,000-8,000 | 150-400 | None (solar/wind) | 10-25 | 70-90 | 70-85 | 3.0-5.0 | 20-30 | Low | Medium | Hot arid & semi-arid (high solar radiation) | Low — ponds overflow in floods | Very High — solar UV kills pathogens | Low — high evaporation losses in drought | Low — open surface vulnerable to wind/debris | Pond effluent for aquaculture/irrigation | Highest pathogen removal; extremely low cost; solar-powered treatment; no energy/chemicals | Very large land requirement; odor issues possible; seasonal algae blooms; poor in cold/cloudy zones; evaporation losses | Multiple installations across Rajasthan, MP, Maharashtra; WHO guidelines for WSP design
10 | Duckweed Pond | Secondary Treatment | Facultative | 5-200 | 3,000-10,000 | 200-500 | None | 8-20 | 75-90 | 80-90 | 2.0-3.0 | 15-20 | Low-Medium | Medium | Tropical / Sub-tropical | Low — flooding destroys duckweed mat | High — rapid growth in heat | Medium — needs water to sustain pond | Low — wind disperses duckweed | Duckweed biomass for animal feed/compost | Nutrient removal; protein-rich biomass harvest; natural treatment; low cost | Duckweed management needed; harvesting labor; sensitive to heavy metals; pH sensitive | Research projects at IIT Kharagpur; pilot installations in West Bengal
11 | Polishing Pond (Maturation Pond) | Tertiary Treatment | Polishing | 10-500 | 2,000-5,000 | 100-300 | None (solar UV) | 5-15 | 40-60 (additional) | 50-70 (additional) | 2.0-4.0 | 20-30 | Low | Medium | Hot zones with high solar radiation | Low — overflow risk | Very High — UV disinfection enhanced | Low — evaporation | Low — open surface | Reuse-grade effluent | Final pathogen kill; simple design; no chemicals; solar disinfection; aquaculture compatible | Large land; limited additional BOD removal; evaporation in dry zones; algae management | Post-WSP installations across India; CSE documented cases
12 | Sand / Gravel Filter (Slow) | Tertiary Treatment | Polishing | 1-100 | 3,000-8,000 | 200-500 | None or minimal | 0.5-2.0 | 50-70 (additional) | 80-95 (additional) | 2.0-3.0 | 15-20 | Low | High | All zones | High — underground/enclosed | High | Medium — needs periodic backwash water | High — enclosed | High-quality reuse water | Excellent TSS polishing; simple; reliable; no chemicals; underground = climate proof | Needs periodic cleaning/replacement; clogs with high solids loading; backwash water needed | Multiple DEWATS post-treatment stages; CDD India; drinking water treatment adaptations
13 | Root Zone Treatment System (RZTS) | Tertiary Treatment | Polishing | 1-50 | 5,000-12,000 | 200-400 | None | 3-8 | 70-85 | 75-90 | 2.0-3.0 | 10-15 | Low | Medium | Humid tropical / sub-tropical | Medium — surface system at flood risk | High — plants grow faster | Low — plants need water | Medium — above ground | Treated water for gardening | Nature-based; aesthetic value; zero energy; household scale possible; educational value | Needs maintenance; plant die-off in drought; limited capacity; media replacement needed | Auroville; household-level installations; CSE promoted technology
14 | Greywater Garden / Leach Pit | Greywater Treatment | On-site | 0.1-2 | 500-3,000 | 50-200 | None | 1-4 | 50-70 | 40-60 | 1.0 | 10-15 | Low | Medium | Semi-arid / arid (where reuse is critical) | Low — pit floods in waterlogged areas | Medium | Very High — reuses water for plants | Medium | Direct garden irrigation | Extremely low cost; immediate water reuse; household level; promotes kitchen gardening | Not for blackwater; soil clogging over time; not suitable in high water table areas; limited to small volumes | SBM greywater management guidelines; WaterAid India compendium on greywater
15 | Greywater Recycling Unit (packaged) | Greywater Treatment | Compact | 0.5-50 | 15,000-40,000 | 1,000-3,000 | Low (pump + small filter) | 0.2-0.5 | 80-90 | 85-95 | 2.0 | 10-15 | Medium | Medium | Water-scarce zones (drought-prone) | Medium — enclosed unit | Medium | Very High — critical in water scarcity | High — compact enclosed unit | Toilet flushing, gardening, floor wash | High quality reuse water; compact; reduces freshwater demand by 40-60% | Higher cost; needs electricity; filter replacement; not widely available in rural India | Urban installations in Bengaluru, Delhi; IGBC green building projects
16 | Faecal Sludge Co-composting | FSSM | Treatment + Reuse | 1-50 (tonnes/day) | 2,00,000-8,00,000 (per unit) | 500-1,500/tonne | Minimal (mechanical turning) | 50-200 per tonne/day | N/A (solid) | N/A | 4.0-5.0 | 10-15 | Medium | High | Hot arid / semi-arid (thermophilic composting) | Medium — needs covered shed | Very High — heat accelerates thermophilic kill | Very High — no water needed | Medium — if shed is storm-rated | Compost for agriculture | No water needed; produces valuable compost; kills pathogens; low tech; decentralised possible | Needs consistent organic waste supply; odor management; quality control for compost; 3-4 month cycle time | TNUSSP Tamil Nadu; Devanahalli (Karnataka); multiple ULB installations under SBM-U
17 | Planted Drying Bed (PDB) | FSSM | Dewatering + Treatment | 1-20 (m³/day) | 1,50,000-5,00,000 (per bed) | 300-800/m³ | None | 10-30 per m³/day capacity | N/A (solid) | N/A | 3.0-4.0 | 10-15 | Low-Medium | High | Tropical / sub-tropical | Medium — raised bed helps | Very High — rapid drying | Medium — plants need some moisture | Medium — plants at wind risk | Dried sludge for soil amendment; reed biomass | Nature-based; low energy; good pathogen reduction; aesthetic; self-draining | Large land for volume; 2-3 year cycle for sludge removal; plant maintenance; climate dependent drying rate | CDD India; Leh pilot project; FSM Alliance documented cases
18 | Unplanted Drying Bed (Solar) | FSSM | Dewatering | 1-50 (m³/day) | 50,000-2,00,000 (per bed) | 200-500/m³ | None (solar heat) | 5-15 per m³/day capacity | N/A | N/A | 2.0-3.0 | 15-20 | Low | Medium | Hot arid / semi-arid | Low — open bed at flood risk | Very High — fastest drying | N/A — designed for dry conditions | Low — open bed, wind blows dried sludge | Dried sludge cake for disposal/reuse | Simplest FSSM technology; lowest cost; very effective in hot zones; minimal skills needed | Large land; weather dependent; slow in monsoon/winter; odor issues; limited pathogen removal in cold zones | Widespread across India; SBM-U FSSM installations; NIUA documentation
19 | DEWATS (Full Train: Settler + ABR + AF + CW) | Integrated System | Complete Treatment | 5-500 | 15,000-35,000 | 600-1,500 | None (fully gravity-driven) | 5-12 | 90-98 | 90-98 | 3.0-4.0 | 20-30 | Medium | Very High | All zones (component selection varies by climate) | High — mostly underground | High — anaerobic stages improve | High — no water input; CW may need minimum moisture | High — underground components safe | Treated water for irrigation; sludge for compost | Complete treatment train; zero energy; modular; climate-adaptable; proven at scale; CPCB compliant | Higher initial cost; needs trained design; community management essential; land for wetland component | CDD India 450+ installations; BORDA; CSE documentation; ADB case studies
20 | Johkasou (Packaged Household DEWATS) | Integrated System | Complete Treatment | 0.5-10 | 50,000-2,00,000 (per unit) | 2,000-5,000/unit/yr | Low (small blower) | 0.5-1.5 | 85-95 | 85-95 | 2.0-3.0 | 15-20 | Low-Medium | Medium | All zones | High — buried FRP tank | Medium — blower may overheat | Medium — needs water for flushing | High — buried unit | Reuse-grade effluent | Household-scale complete treatment; compact; factory-made quality; quick installation; modular | Needs electricity for blower; FRP tank cost; not yet widely manufactured in India; maintenance culture needed | Japanese technology; pilot installations by JICA in India; SuSanA documentation

## Climate-Tech Matrix
Climate Zone | Primary Hazard | Secondary Hazard | Recommended Toilet Tech | Recommended Liquid Waste Primary | Recommended Liquid Waste Secondary | Recommended FSSM | Greywater Strategy | Key Design Adaptation | NOT Recommended Technologies
Hot Arid (Rajasthan, Gujarat-Kutch) | Heatwave + Drought | Dust storms | Composting/UDDT; VIP latrine; Low-flush pour-flush | Settler + ABR (underground, heat-proof) | WSP (high solar = excellent pathogen kill); Solar drying beds | Unplanted solar drying bed; Co-composting | Greywater garden (critical — every drop reused) | Underground components; solar-enhanced treatment; zero-water designs; wind-proofing for dust | Duckweed pond (evaporation); Open constructed wetland without shade; Water-intensive technologies
Hot Semi-Arid (Deccan, Central India) | Heatwave | Seasonal drought + flash floods | Twin-pit (sealed); Biogas-linked toilet | Settler + ABR + AF (underground) | Constructed wetland (HF with drought-tolerant reeds) | Co-composting (thermophilic); Solar drying beds | Greywater recycling for toilet flushing | Dual-mode design for wet/dry seasons; rainwater harvesting integration; heat-resistant materials | WSP without lining (evaporation loss); Open unlined soak pits in rocky terrain
Hot Humid (Coastal) | Flood + Cyclone | Heat + saltwater intrusion | Elevated twin-pit (raised plinth); EcoSan | Settler + ABR (sealed, underground, above water table) | Constructed wetland with raised berm; Vertical flow CW | Planted drying bed (raised); Mechanised desludging | Greywater recycling unit (compact, enclosed) | Flood-proofing all components; corrosion-resistant materials (saltwater); elevated plinth; sealed joints | Open soak pits; Unlined WSP; Ground-level FSSM beds; Unprotected biogas dome
Warm Humid (NE India, Sub-Himalayan) | Flood + Landslide | Heavy monsoon rainfall | Elevated twin-pit; Pour-flush with sealed septic | Settler + ABR + AF (all underground, sealed) | Constructed wetland (terraced for slope); Vertical flow CW | Planted drying bed; Covered co-composting | Greywater garden (terraced) | Slope-adapted design; terracing; erosion control; monsoon-proof covers; raised access paths | Ground-level soak pits; Open WSP; Unprotected solar drying beds
Cold Arid (Ladakh, Spiti) | Extreme cold + Drought | Freeze risk | Composting/UDDT (insulated); EcoSan with urine diversion | Insulated ABR (underground, below frost line) | Root zone system (greenhouse-enclosed); Slow sand filter | Covered co-composting shed (insulated) | Greywater recycling (indoor unit, freeze-protected) | Freeze protection (insulated pipes, below frost-line burial); greenhouse enclosure for wetlands; solar-heated composting chambers | Open WSP (freezes); Biogas (too cold for methanogenesis); Duckweed pond; Any open-surface treatment
Cold Humid (Himalayan) | Cold + Heavy rainfall | Landslide + Snow | Pour-flush with insulated septic; Composting toilet | Insulated settler + ABR (underground) | Vertical flow CW (greenhouse-covered in winter); Slow sand filter | Covered co-composting; Indoor planted drying bed | Greywater recycling (indoor) | Insulation; slope stability; snow-load rated covers; frost-line burial; greenhouse for biological processes | Open WSP; Unprotected biogas; Open drying beds; Duckweed pond
Flood-Prone Alluvial (Bihar, Assam, E-UP) | Major flooding (annual) | Waterlogging + GW contamination | Elevated twin-pit (1m+ above HFL); EcoSan on raised platform | Elevated settler + sealed ABR + AF (all above HFL or sealed) | Constructed wetland (raised berm 1.5m+ above HFL); Floating wetland | Mechanised desludging (mobile); Raised co-composting platform | Greywater recycling unit (elevated) | Everything elevated above highest flood level; sealed joints; quick-drain features; mobile FSSM units; flood-resilient superstructure | Ground-level soak pits; Unlined WSP; Any below-grade unprotected system; Open drying beds
Cyclone Belt (Odisha, AP, TN, WB coast) | Cyclone + Storm surge | Flooding + Saltwater intrusion | Reinforced below-ground septic; Twin-pit with storm-rated superstructure | Settler + ABR (underground, reinforced RCC) | Constructed wetland (below-grade profile); Underground slow sand filter | Storm-rated co-composting shed; Mechanised desludging | Below-ground greywater recycling | Wind-rated superstructures (120+ km/h); underground preference; corrosion-resistant (saltwater); quick-rebuild modular design; debris-resistant manholes | Above-ground WSP; Open drying beds; Unanchored biogas domes; Tall UASB structures

## Quick Measures
Hazard Type | Alert Level | WASH Component Affected | Quick Measure / Action | Timeline | Responsible Agency | Resources Needed | Estimated Cost (INR)
FLOOD | Orange | Twin-pit toilet | Seal pit covers with waterproof lids and sandbag surround | 0-6 hrs | GP / Ward | Waterproof covers, sandbags, sealant | 500-1,500 per unit
FLOOD | Orange | Septic tank | Close inspection chambers; seal overflow pipes; anchor floating risk tanks | 0-6 hrs | GP / ULB | Cement plugs, locks, anchor straps | 1,000-3,000 per unit
FLOOD | Orange | Handpumps / Water points | Deploy emergency chlorination (bleaching powder) at all low-lying handpumps | 0-12 hrs | PHE Dept / GP | Bleaching powder, testing kits | 200-500 per point
FLOOD | Red | FSSM infrastructure | Evacuate sludge from at-risk pits before floodwater arrives; deploy mobile desludging | 0-24 hrs | ULB / Private operator | Vacuum tanker, disposal site coordination | 3,000-8,000 per trip
FLOOD | Red | Community drainage | Clear all drain blockages; activate stormwater diversion from sanitation zones | 0-12 hrs | ULB / GP | Labor, JCB/excavator for major blocks | 5,000-20,000
FLOOD | Red | Relief shelters | Pre-position portable toilet units (1 per 50 persons) at identified shelters | 0-24 hrs | DDMA / NGO | Mobile toilet units, water supply | 15,000-30,000 per unit
HEATWAVE | Orange | Public toilets | Increase water supply frequency to public sanitation complexes (2x daily) | Ongoing | ULB / Water Dept | Additional tanker trips, storage tanks | 2,000-5,000/day
HEATWAVE | Orange | Septic / Biogas | Shade exposed tanks and digesters with tarpaulin or bamboo screens | 0-48 hrs | GP / ULB | Shade cloth, bamboo, labour | 500-2,000 per unit
HEATWAVE | Orange | FSSM | Accelerate desludging schedule — heat speeds anaerobic decomposition causing odor + gas buildup | Weekly | ULB / Operator | Vacuum tanker, disposal coordination | 3,000-8,000 per trip
HEATWAVE | Yellow | Community health | Distribute ORS sachets and chlorine tablets at water points | Ongoing | Health Dept / ASHA | ORS sachets, chlorine tablets | 5-15 per household
HEATWAVE | Yellow | Composting toilet | Monitor moisture levels in composting chambers — add water if drying too fast for decomposition | Daily | Household / GP | Water, moisture meter | Minimal
DROUGHT | Orange | Pour-flush toilets | Switch to low-flush mode — bucket flush with <3L per use instead of cistern | Immediate | Household / GP | Awareness campaign, signage | Minimal
DROUGHT | Orange | Greywater systems | Activate greywater recycling for toilet flushing wherever systems are installed | 0-48 hrs | ULB / GP | Pipe connections, filters | 1,000-5,000 per unit
DROUGHT | Orange | Handpumps | Priority maintenance of handpumps — falling water table stresses pump seals and valves | Weekly | PHE Dept / GP | Spare parts, mechanic visits | 500-2,000 per pump
DROUGHT | Red | Public facilities | Deploy water-free urinals at all public toilet complexes to conserve water | 0-1 week | ULB | Waterless urinal inserts | 3,000-8,000 per unit
DROUGHT | Yellow | FSSM operations | Defer non-emergency desludging to conserve water for essential flushing | Duration of alert | ULB / GP | Revised scheduling | Nil
CYCLONE | Orange | Above-ground structures | Anchor all above-ground sanitation structures — biogas domes, elevated tanks, superstructures | 0-24 hrs | GP / ULB | Guy wires, ground anchors, sandbags | 1,000-5,000 per unit
CYCLONE | Orange | Sewer network | Seal and lock all manholes to prevent debris ingress and backflow | 0-12 hrs | ULB | Manhole locks, sealing compounds | 500-1,500 per manhole
CYCLONE | Red | Cyclone shelters | Pre-deploy emergency mobile toilets at all designated cyclone shelters (1 per 50 persons) | 0-24 hrs | DDMA / NGO / ULB | Mobile toilet units, water supply, labour | 15,000-30,000 per unit
CYCLONE | Red | FSSM plants | Shut down treatment plants; secure all exposed equipment; cover drying beds | 0-12 hrs | ULB / Operator | Tarpaulins, locks, shutdown protocol | 5,000-15,000
CYCLONE | Yellow | Post-landfall | Stockpile bleaching powder + water purification tablets for post-cyclone water sanitization | Pre-landfall | Health Dept / DDMA | Bleaching powder (50kg), tablets | 5,000-10,000 per ward

## Data Sources & APIs
Source | Data Type | API Endpoint / URL | Update Frequency | Access Method | Key Fields for WASH EWS | Notes
IMD | District weather warnings (5-day) | mausam.imd.gov.in/api/warnings_district_api.php | Daily | REST API (IP whitelist) | Warning code (flood/heat/storm), color code (Green-Red), district ID | Email IMD to whitelist your server IP
IMD | District rainfall (actual vs normal) | mausam.imd.gov.in/api/districtwise_rainfall_api.php | Daily | REST API (IP whitelist) | Daily/weekly/monthly actual vs normal rainfall; departure %; category (LE/E/N/D/LD/NR) | Key for drought/flood early detection
IMD | District nowcast (3-hr) | mausam.imd.gov.in/api/nowcast_district_api.php | 3-hourly | REST API (IP whitelist) | Nowcast categories (light/moderate/heavy rain, thunderstorm, dust storm, lightning) | Real-time alert trigger
IMD | AWS station data | city.imd.gov.in/api/aws_data_api.php | Hourly | REST API (IP whitelist) | Current temp, humidity, wind speed/direction, rainfall, lat/long per station | Granular station-level data
IMD | City 7-day forecast | city.imd.gov.in/api/cityweather.php | Daily | REST API (IP whitelist) | 7-day max/min temp forecast, weather description per city | Heatwave prediction input
IMD | River basin QPF | mausam.imd.gov.in/api/basin_qpf_api.php | Daily | REST API (IP whitelist) | 5-day precipitation forecast per river sub-basin; area-averaged precipitation | Flood prediction for river-adjacent districts
CGWB | Groundwater levels (seasonal) | indiawris.gov.in / gwdata.cgwb.gov.in | Quarterly | Web portal download | Depth to water level per well; seasonal trends; aquifer type | Long-term drought/flood risk profiling
CGWB | GW level changes (22,965 wells) | indiadataportal.com (CSV/JSON) | Quarterly | Direct CSV download | Station-wise depth changes from 1969; pre/post monsoon levels | Historical trend analysis for ML training
CWC | Flood forecast (river levels) | ffs.india-water.gov.in | During monsoon (May-Dec) | Web dashboard / RSS | River water level vs warning/danger/HFL; forecast for 1-3 days | Critical for flood-prone district alerts
CWC | FloodWatch India App | Google Play / API | Real-time during floods | Mobile app + potential scraping | 392 flood monitoring stations; 200 forecast stations; 7-day forecast | Most accessible flood data for frontline use
Open-Meteo | Global weather forecast | api.open-meteo.com/v1/forecast | Hourly | Free REST API (no auth) | Hourly temp, rain, humidity, wind, soil moisture for any lat/long | Fallback when IMD APIs are down; no IP whitelist needed
Open-Meteo | Historical weather (80+ years) | archive-api.open-meteo.com/v1/archive | Static archive | Free REST API (no auth) | Daily temp/rain/wind from 1940 for any location | ML model training data; long-term climate profiling
ERA5 (Copernicus) | Reanalysis climate data | cds.climate.copernicus.eu | Monthly updates | Free (registration required) | Gridded temp, rain, wind, humidity, soil moisture (0.25° resolution) from 1979 | Gold standard for ML model training; used in published heatwave prediction research
NDMA | Disaster history | ndma.gov.in / data.gov.in | Annual | Web download / data.gov.in API | Historical disaster events per district; damage reports; affected population | Long-term risk classification training data
India-WRIS | Integrated water resources | indiawris.gov.in | Varies | Web portal | River networks, reservoir levels, soil data, land use, waterlogging maps | Supporting spatial data for district profiling